## Sheet1
Type | Descricao | SystemFullName
| L-rail | @30¦M41¦A50¦A10¦A10¦A30¦A10
| N-rail | @30¦M41¦A50¦A10¦A10¦A30¦A20
| PE rail | @30¦M41¦A50¦A10¦A10¦A30¦A30
| Cable, unspecified | @30¦M41¦A50¦A10¦A10¦A40¦A10
| Control line | @30¦M41¦A50¦A10¦A10¦A40¦A40
| Data cable | @30¦M41¦A50¦A10¦A10¦A40¦A50
| Fiber optic cable | @30¦M41¦A50¦A10¦A10¦A40¦A60
| Drum | @30¦M41¦A50¦A10¦A10¦A40¦C10
| Auxiliary contactor | @30¦M41¦A50¦A10¦A10¦A90¦A10
| Power contactor | @30¦M41¦A50¦A10¦A10¦A90¦A20
| Capacitor, general | @30¦M41¦A50¦A10¦A10¦B10¦A10
| Capacitor, polarized | @30¦M41¦A50¦A10¦A10¦B10¦A20
| Capacitor, variable | @30¦M41¦A50¦A10¦A10¦B10¦A30
| Capacitor, adjustable | @30¦M41¦A50¦A10¦A10¦B10¦A40
| Capacitor, differential | @30¦M41¦A50¦A10¦A10¦B10¦A50
| Capacitor, split and adjustable | @30¦M41¦A50¦A10¦A10¦B10¦A60
| Capacitor, polarized, temperature dependent | @30¦M41¦A50¦A10¦A10¦B10¦A70
| Capacitor, polarized, voltage dependent | @30¦M41¦A50¦A10¦A10¦B10¦A80
| Capacitor, module | @30¦M41¦A50¦A10¦A10¦B10¦A90
| Reactive power compensator, 3-phase, capacitive | @30¦M41¦A50¦A10¦A10¦B10¦B10
| Reactive power compensator, 3-phase, inductive | @30¦M41¦A50¦A10¦A10¦B10¦B20
| Inductance, general | @30¦M41¦A50¦A10¦A10¦B20¦A10
| Inductivity, general, 3-phase | @30¦M41¦A50¦A10¦A10¦B20¦A20
| Inductance, with magnetic core | @30¦M41¦A50¦A10¦A10¦B20¦A30
| Inductivity, with air gap and solenoid core | @30¦M41¦A50¦A10¦A10¦B20¦A40
| Inductivity, with solenoid core, adjustable | @30¦M41¦A50¦A10¦A10¦B20¦A50
| Inductance, with stepwise movable contact | @30¦M41¦A50¦A10¦A10¦B20¦A60
| Variometer | @30¦M41¦A50¦A10¦A10¦B20¦A70
| Resistor, general | @30¦M41¦A50¦A10¦A10¦B30¦A10
| Resistor, adjustable | @30¦M41¦A50¦A10¦A10¦B30¦A20
| Varistor | @30¦M41¦A50¦A10¦A10¦B30¦A30
| Resistor, with movable contact | @30¦M41¦A50¦A10¦A10¦B30¦A40
| Resistor, with movable contact and OFF | @30¦M41¦A50¦A10¦A10¦B30¦A50
| Potentiometer, with movable contact | @30¦M41¦A50¦A10¦A10¦B30¦A60
| Potentiometer with movable contact and pre-set adjustment | @30¦M41¦A50¦A10¦A10¦B30¦A70
| Shunt | @30¦M41¦A50¦A10¦A10¦B30¦A80
| Carbon-pile resistor | @30¦M41¦A50¦A10¦A10¦B30¦A90
| Heating element | @30¦M41¦A50¦A10¦A10¦B30¦B10
| NTC-resistor, hot conductor | @30¦M41¦A50¦A10¦A10¦B30¦B20
| PTC resistor, cold conducting | @30¦M41¦A50¦A10¦A10¦B30¦B30
| Controller | @30¦M41¦A50¦A10¦A10¦B50¦A10
| Amplifier | @30¦M41¦A50¦A10¦A10¦B50¦A20
| Positioner (for valve) | @30¦M41¦A50¦A10¦A10¦B50¦A30
| AC/DC converter | @30¦M41¦A50¦A10¦A10¦B50¦A40
| R-C filter, 3-pole | @30¦M41¦A50¦A10¦A10¦C40¦A10
| Neutral conductor disconnector | @30¦M41¦A50¦A10¦A20¦A50¦A10
| Potential | @30¦M41¦A50¦A10¦A20¦B30¦A10
| Potential bundle | @30¦M41¦A50¦A10¦A20¦B30¦A20
| Logical potential bundle | @30¦M41¦A50¦A10¦A20¦B30¦A30
| Logical element, 1 input | @30¦M41¦A50¦A10¦A20¦B50¦A10
| Logical element, 2 inputs | @30¦M41¦A50¦A10¦A20¦B50¦A20
| Relay, general | @30¦M41¦A50¦A10¦A30¦A10¦A10
| Power contactor | @30¦M41¦A50¦A10¦A30¦A10¦A20
| Power contactor, with additional symbol configuration | @30¦M41¦A50¦A10¦A30¦A10¦A30
| Power contactor (w/o coil as element) | @30¦M41¦A50¦A10¦A30¦A10¦A40
| Fuse, N-pole | @30¦M41¦A50¦A10¦A30¦A20¦A10
| Fuse switch, N-pole | @30¦M41¦A50¦A10¦A30¦A20¦A20
| Circuit-breaker, N-pole | @30¦M41¦A50¦A10¦A30¦A20¦A30
| Fuse, with alarm contact 1-pole | @30¦M41¦A50¦A10¦A30¦A20¦A40
| Buchholz protective device | @30¦M41¦A50¦A10¦A30¦A20¦A50
| Restart facility | @30¦M41¦A50¦A10¦A30¦A20¦A60
| Relay, Overload | @30¦M41¦A50¦A10¦A30¦A20¦A70
| Static thermal overload relay | @30¦M41¦A50¦A10¦A30¦A20¦A80
| Switch, NO, N-pole | @30¦M41¦A50¦A10¦A30¦A30¦A10
| Switch, NC, N-pole | @30¦M41¦A50¦A10¦A30¦A30¦A20
| Switch, changeover | @30¦M41¦A50¦A10¦A30¦A30¦A30
| Motor protection switch, N-pole | @30¦M41¦A50¦A10¦A30¦A40¦A10
| Inductor, general | @30¦M41¦A50¦A10¦A30¦B10¦A10
| Variometer | @30¦M41¦A50¦A10¦A30¦B10¦A20
| Motor starter, general | @30¦M41¦A50¦A10¦A30¦B20¦A10
| Transformers with element, modular | @30¦M41¦A50¦A10¦A30¦B30¦A10
| Voltage transformer | @30¦M41¦A50¦A10¦A30¦B30¦A20
| Transformer, 3 windings | @30¦M41¦A50¦A10¦A30¦B30¦A30
| Auto-transformer | @30¦M41¦A50¦A10¦A30¦B30¦A40
| Mechanically energized convertor | @30¦M41¦A50¦A10¦A30¦B40¦A10
| Converter | @30¦M41¦A50¦A10¦A30¦B40¦A20
| Synchronous rotary converter, 3-phase, shunt excited | @30¦M41¦A50¦A10¦A30¦B40¦A30
| Capacitor, general symbol | @30¦M41¦A50¦A10¦A30¦B50¦A10
| Capacitor, split and adjustable | @30¦M41¦A50¦A10¦A30¦B50¦A20
| Resistor, general | @30¦M41¦A50¦A10¦A30¦B60¦A10
| Resistor with fixed tappings | @30¦M41¦A50¦A10¦A30¦B60¦A20
| R-C filter, 3 pole | @30¦M41¦A50¦A10¦A30¦B70¦A10
| Filter, general | @30¦M41¦A50¦A10¦A30¦B70¦A20
| Controller | @30¦M41¦A50¦A10¦A30¦B80¦A10
| Amplifier | @30¦M41¦A50¦A10¦A30¦B80¦A20
| Positioner (for valve) | @30¦M41¦A50¦A10¦A30¦B80¦A30
| AC/DC converter | @30¦M41¦A50¦A10¦A30¦B80¦A40
| Thyristor diodes | @30¦M41¦A50¦A10¦A30¦B90¦A20
| DC motor | @30¦M41¦A50¦A10¦A30¦C10¦A10
| AC motor | @30¦M41¦A50¦A10¦A30¦C10¦A20
| Linear motor | @30¦M41¦A50¦A10¦A30¦C10¦A30
| Converter drive | @30¦M41¦A50¦A10¦A30¦C10¦A40
| Indicator light | @30¦M41¦A50¦A10¦A30¦C20¦A10
| Audible indicator | @30¦M41¦A50¦A10¦A30¦C20¦A20
| Lamp general | @30¦M41¦A50¦A10¦A30¦C30¦A10
| Spotlight | @30¦M41¦A50¦A10¦A30¦C30¦A20
| Lamp mobile | @30¦M41¦A50¦A10¦A30¦C30¦A30
| Lamp for installation and mounting | @30¦M41¦A50¦A10¦A30¦C30¦A40
| Wall lamp | @30¦M41¦A50¦A10¦A30¦C30¦A50
| Moist room lamp | @30¦M41¦A50¦A10¦A30¦C30¦A60
| Hall reflector lamp | @30¦M41¦A50¦A10¦A30¦C30¦A70
| Indicator light | @30¦M41¦A50¦A10¦A30¦C30¦A80
| Tunnel lamp | @30¦M41¦A50¦A10¦A30¦C30¦A90
| Path light | @30¦M41¦A50¦A10¦A30¦C30¦B10
| Pendant luminaire | @30¦M41¦A50¦A10¦A30¦C30¦B20
| Strip light | @30¦M41¦A50¦A10¦A30¦C30¦B30
| Light tube system | @30¦M41¦A50¦A10¦A30¦C30¦B40
| Light wave system | @30¦M41¦A50¦A10¦A30¦C30¦B50
| Carrier for luminous band system | @30¦M41¦A50¦A10¦A30¦C30¦B60
| Fluorescent general | @30¦M41¦A50¦A10¦A30¦C30¦B70
| Emergency lighting luminaire | @30¦M41¦A50¦A10¦A30¦C30¦B80
| Lamp electromechanical | @30¦M41¦A50¦A10¦A30¦C30¦B90
| Signaling lamp with transformer | @30¦M41¦A50¦A10¦A30¦C30¦C10
| Heat source, general | @30¦M41¦A50¦A10¦A30¦C30¦C20
| Counting device, cam driven | @30¦M41¦A50¦A10¦A30¦C40¦A20
| Integrating instrument, general symbol | @30¦M41¦A50¦A10¦A30¦C40¦A30
| Recording instrument, general symbol | @30¦M41¦A50¦A10¦A30¦C40¦A40
| Clock, general symbol | @30¦M41¦A50¦A10¦A30¦C40¦A50
| Generator | @30¦M41¦A50¦A10¦A30¦D10¦A10
| Power supply, General | @30¦M41¦A50¦A10¦A30¦D20¦A10
| Valve, general | @30¦M41¦A50¦A10¦A30¦F10¦A10
| Brake | @30¦M41¦A50¦A10¦A30¦F10¦A20
| Mechanical coupling, electromagnet | @30¦M41¦A50¦A10¦A30¦F10¦A30
| Coupling device with electrical separation | @30¦M41¦A50¦A10¦A30¦F10¦A40
| Magnetic coupling | @30¦M41¦A50¦A10¦A30¦F10¦A50
| Optical coupling device with slot for light-barrier | @30¦M41¦A50¦A10¦A30¦F10¦A60
| Density general | @30¦M41¦A50¦A10¦A10¦A10¦D¦D1
| Voltmeter | @30¦M41¦A50¦A10¦A10¦A10¦E¦E1
| MDM_WDM_IDM | @30¦M41¦A50¦A10¦A10¦A10¦F¦F1
| SKDM (suspended body flowmeter) | @30¦M41¦A50¦A10¦A10¦A10¦F¦F2
| Differential pressure generator | @30¦M41¦A50¦A10¦A10¦A10¦F¦F3
| Counter | @30¦M41¦A50¦A10¦A10¦A10¦F¦F4
| General flow sensor | @30¦M41¦A50¦A10¦A10¦A10¦F¦F5
| Coriolis | @30¦M41¦A50¦A10¦A10¦A10¦F¦F6
| Ultrasonic | @30¦M41¦A50¦A10¦A10¦A10¦F¦F7
| Vortex | @30¦M41¦A50¦A10¦A10¦A10¦F¦F8
| Flow, magnetic-inductive | @30¦M41¦A50¦A10¦A10¦A10¦F¦F9
| Approximation measuring | @30¦M41¦A50¦A10¦A10¦A10¦G¦G1
| End position | @30¦M41¦A50¦A10¦A10¦A10¦G¦G2
| Time general | @30¦M41¦A50¦A10¦A10¦A10¦K¦K1
| Level limit switch | @30¦M41¦A50¦A10¦A10¦A10¦L¦L1
| Displacer | @30¦M41¦A50¦A10¦A10¦A10¦L¦L2
| Radar | @30¦M41¦A50¦A10¦A10¦A10¦L¦L3
| Ultrasonic | @30¦M41¦A50¦A10¦A10¦A10¦L¦L4
| Ultrasonic sensor | @30¦M41¦A50¦A10¦A10¦A10¦L¦L5
| Capacitive transmitter | @30¦M41¦A50¦A10¦A10¦A10¦L¦L6
| Moisture general | @30¦M41¦A50¦A10¦A10¦A10¦M¦M1
| Pressure transducer | @30¦M41¦A50¦A10¦A10¦A10¦P¦P1
| Differential pressure transducer | @30¦M41¦A50¦A10¦A10¦A10¦P¦P2
| Contact manometer | @30¦M41¦A50¦A10¦A10¦A10¦P¦P3
| Push buttons | @30¦M41¦A50¦A10¦A10¦A10¦P¦P4
| Pressure regulator/reducer | @30¦M41¦A50¦A10¦A10¦A10¦P¦P5
| Material property general | @30¦M41¦A50¦A10¦A10¦A10¦Q¦Q1
| Radiation values general | @30¦M41¦A50¦A10¦A10¦A10¦R¦R1
| RPM, general | @30¦M41¦A50¦A10¦A10¦A10¦S¦S1
| Temperature sensor | @30¦M41¦A50¦A10¦A10¦A10¦T¦T1
| Thermometer | @30¦M41¦A50¦A10¦A10¦A10¦T¦T2
| Temperature measurement converter | @30¦M41¦A50¦A10¦A10¦A10¦T¦T3
| Protective pipes | @30¦M41¦A50¦A10¦A10¦A10¦T¦T4
| General | @30¦M41¦A50¦A10¦A10¦A10¦U¦U1
| Viscosity general | @30¦M41¦A50¦A10¦A10¦A10¦V¦V1
| Mass general | @30¦M41¦A50¦A10¦A10¦A10¦W¦W1
| Analog (feed unit, buffer amplifier, ...) | @30¦M41¦A50¦A10¦A10¦A10¦Z02¦U1
| Binary (field barrier, switch amplifier, ...) | @30¦M41¦A50¦A10¦A10¦A10¦Z02¦U2
| Solenoid valve driver | @30¦M41¦A50¦A10¦A10¦A10¦Z02¦U3
| Valves | @30¦M41¦A50¦A10¦A10¦A10¦Z03¦Y1
| Ball valves | @30¦M41¦A50¦A10¦A10¦A10¦Z03¦Y2
| Flaps | @30¦M41¦A50¦A10¦A10¦A10¦Z03¦Y3
| Solenoid valves | @30¦M41¦A50¦A10¦A10¦A10¦Z03¦Y51
| Positioner | @30¦M41¦A50¦A10¦A10¦A10¦Z03¦Y52
| Ex control panel | @30¦M41¦A50¦A10¦A10¦A10¦Z04¦01
| Slider indicator, potential-free contact | @30¦M41¦A50¦A10¦A10¦A10¦Z04¦02
| Motor control center, E-technology | @30¦M41¦A50¦A10¦A10¦A10¦Z04¦03
| Malfunction signal contact, potential-free contact | @30¦M41¦A50¦A10¦A10¦A10¦Z04¦04
| Measurement transmitter (Density) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦D
| Measurement transmitter (Electrical values) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦E
| Measurement transmitter (Flow) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦F
| Measurement transmitter (Distance, length, position, feedback signals) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦G
| Measurement transmitter (Time) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦K
| Measurement transmitter (Level) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦L
| Measurement transmitter (Humidity) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦M
| Measurement transmitter (Pressure) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦P
| Measurement transmitter (Material property) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦Q
| Measurement transmitter (Radiation values) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦R
| Measurement transmitter (Speed, RPM) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦S
| Measurement transmitter (Temperature) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦T
| Measurement transmitter (Viscosity) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦V
| Measurement transmitter (Mass) | @30¦M41¦A50¦A10¦A10¦A15¦A20¦W
| Socket, 3-pin | @30¦M41¦A50¦A10¦A10¦A20¦A10¦A10
| Socket outlet, 5-pin | @30¦M41¦A50¦A10¦A10¦A20¦A10¦A20
| Communication port | @30¦M41¦A50¦A10¦A10¦A20¦A30¦A10
| Lamp, general | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A10
| Carrier for fluorescent lamp | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A20
| Spotlight | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A30
| Emergency light | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A40
| Lamp, mobile | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A50
| Lamp for installation and mounting | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A60
| Wall lamp | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A70
| Moist room lamp | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A80
| Hall reflector lamp | @30¦M41¦A50¦A10¦A10¦A50¦A10¦A90
| Indicator light | @30¦M41¦A50¦A10¦A10¦A50¦A10¦B10
| Path light | @30¦M41¦A50¦A10¦A10¦A50¦A10¦B20
| Tunnel lamp | @30¦M41¦A50¦A10¦A10¦A50¦A10¦B30
| Pendant luminaire | @30¦M41¦A50¦A10¦A10¦A50¦A10¦B40
| Light strip | @30¦M41¦A50¦A10¦A10¦A50¦A10¦B50
| Light tube system | @30¦M41¦A50¦A10¦A10¦A50¦A10¦B60
| Light wave system | @30¦M41¦A50¦A10¦A10¦A50¦A10¦B70
| Carrier for luminous band system | @30¦M41¦A50¦A10¦A10¦A50¦A10¦B80
| Standard light bulb | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A10
| Low voltage halogen lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A20
| High voltage halogen lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A30
| Indicating and signal lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A40
| Induction lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A50
| Low pressure sodium lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A60
| High pressure sodium lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A70
| High pressure mercury lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A80
| Halogen metal vapor lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦A90
| Mixed light lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B10
| Projection and photo lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B20
| Neon lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B30
| Lamp for medical applications | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B40
| Single LED | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B50
| LED lamp / multi LED | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B60
| Fluorescent lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B70
| Compact fluorescent lamp | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B80
| Luminous tube/band | @30¦M41¦A50¦A10¦A10¦A50¦A15¦B90
| Heat source, general | @30¦M41¦A50¦A10¦A10¦A50¦A20¦A10
| Heat source, with heating element | @30¦M41¦A50¦A10¦A10¦A50¦A20¦A20
| Elec. heating system, general | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A10
| Fuse, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A10¦A10
| Fuse, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦A10¦A20
| Fuse, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A10¦A30
| Fuse, with connector identification, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A20¦A10
| Fuse, with connector identification, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦A20¦A20
| Fuse, with connector identification, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A20¦A30
| Striker fuse, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A30¦A10
| Striker fuse, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦A30¦A20
| Striker fuse, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A30¦A30
| Fuse-switch, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A40¦A10
| Fuse-switch, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦A40¦A20
| Fuse-switch, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A40¦A30
| Fuse disconnector, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A50¦A10
| Fuse disconnector, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦A50¦A20
| Fuse disconnector, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A50¦A30
| Fuse load disconnector, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A60¦A10
| Fuse load disconnector, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦A60¦A20
| Fuse load disconnector, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A60¦A30
| Circuit-breaker, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A70¦A10
| Circuit-breaker, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦A70¦A20
| Circuit-breaker, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A70¦A30
| RCD, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A80¦A10
| RCD, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A80¦A30
| Circuit-breaker, thermal-overload, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦A90¦A10
| Circuit-breaker, thermal-overload, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦A90¦A20
| Circuit-breaker, thermal-overload, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦A90¦A30
| NH fuse, 1-pole | @30¦M41¦A50¦A10¦A10¦A60¦B10¦A10
| NH fuse, 2-pole | @30¦M41¦A50¦A10¦A10¦A60¦B10¦A20
| NH fuse, 3-pole | @30¦M41¦A50¦A10¦A10¦A60¦B10¦A30
| Buchholz protective device | @30¦M41¦A50¦A10¦A10¦A60¦B20¦A10
| Restart facility | @30¦M41¦A50¦A10¦A10¦A60¦B20¦A20
| Overload relay | @30¦M41¦A50¦A10¦A10¦A60¦B20¦A30
| Power supply, 1-phase | @30¦M41¦A50¦A10¦A10¦A70¦A10¦A10
| Power supply, 3-phase | @30¦M41¦A50¦A10¦A10¦A70¦A10¦A20
| Power supply (with symbol dll) | @30¦M41¦A50¦A10¦A10¦A70¦A10¦A30
| Uninterrupted power supply (with symbol dll) | @30¦M41¦A50¦A10¦A10¦A70¦A10¦A40
| Accumulator, battery | @30¦M41¦A50¦A10¦A10¦A70¦A20¦A10
| Battery, multi-cellular | @30¦M41¦A50¦A10¦A10¦A70¦A20¦A20
| Battery (with symbol dll) | @30¦M41¦A50¦A10¦A10¦A70¦A20¦A30
| Synchronous generator, 3-phase | @30¦M41¦A50¦A10¦A10¦A70¦A30¦A10
| Shunt generator | @30¦M41¦A50¦A10¦A10¦A70¦A40¦A10
| Indicator light | @30¦M41¦A50¦A10¦A10¦A80¦A10¦A10
| Indicating lamp, with test connector | @30¦M41¦A50¦A10¦A10¦A80¦A10¦A20
| Indicator light, flashing | @30¦M41¦A50¦A10¦A10¦A80¦A10¦A30
| Siren | @30¦M41¦A50¦A10¦A10¦A80¦A20¦A10
| Buzzer | @30¦M41¦A50¦A10¦A10¦A80¦A20¦A20
| Horn | @30¦M41¦A50¦A10¦A10¦A80¦A20¦A30
| Relay, 2 coils | @30¦M41¦A50¦A10¦A10¦A90¦A30¦A10
| Multifunctional relay | @30¦M41¦A50¦A10¦A10¦A90¦A30¦A20
| Relay, delay-off | @30¦M41¦A50¦A10¦A10¦A90¦A40¦A10
| Relay, delay-on | @30¦M41¦A50¦A10¦A10¦A90¦A40¦A20
| Relay, AC unaffected | @30¦M41¦A50¦A10¦A10¦A90¦A50¦A10
| Relay, alternating current | @30¦M41¦A50¦A10¦A10¦A90¦A50¦A20
| Resonant relay | @30¦M41¦A50¦A10¦A10¦A90¦A50¦A30
| Backup relay | @30¦M41¦A50¦A10¦A10¦A90¦A50¦A40
| Relay, polarized | @30¦M41¦A50¦A10¦A10¦A90¦A50¦A50
| Remanence relay | @30¦M41¦A50¦A10¦A10¦A90¦A50¦A60
| Electronic relay | @30¦M41¦A50¦A10¦A10¦A90¦A50¦A70
| Motor, general | @30¦M41¦A50¦A10¦A10¦B40¦A05¦A10
| AC motor | @30¦M41¦A50¦A10¦A10¦B40¦A10¦A10
| AC motor, with ground | @30¦M41¦A50¦A10¦A10¦B40¦A10¦A20
| AC motor, 1-phase | @30¦M41¦A50¦A10¦A10¦B40¦A15¦A10
| AC motor 1 phase with PE | @30¦M41¦A50¦A10¦A10¦B40¦A15¦A20
| Three-phase motor, single speed | @30¦M41¦A50¦A10¦A10¦B40¦A20¦A10
| Three-phase motor, single speed, with GRD | @30¦M41¦A50¦A10¦A10¦B40¦A20¦A20
| Three-phase motor, double speed | @30¦M41¦A50¦A10¦A10¦B40¦A20¦A30
| Three-phase motor, double speed, with GRD | @30¦M41¦A50¦A10¦A10¦B40¦A20¦A40
| Three-phase motor, triple speed | @30¦M41¦A50¦A10¦A10¦B40¦A20¦A50
| Three-phase motor, triple speed, with GRD | @30¦M41¦A50¦A10¦A10¦B40¦A20¦A60
| Single speed, 3-phase motor | @30¦M41¦A50¦A10¦A10¦B40¦A25¦A10
| Single speed, 3-phase motor with GND | @30¦M41¦A50¦A10¦A10¦B40¦A25¦A20
| Double speed, 3-phase motor | @30¦M41¦A50¦A10¦A10¦B40¦A25¦A30
| Double speed, 3-phase motor with GND | @30¦M41¦A50¦A10¦A10¦B40¦A25¦A40
| Triple speed, 3-phase motor | @30¦M41¦A50¦A10¦A10¦B40¦A25¦A50
| Triple speed, 3-phase motor with GND | @30¦M41¦A50¦A10¦A10¦B40¦A25¦A60
| DC series motor, self-excited | @30¦M41¦A50¦A10¦A10¦B40¦A30¦A10
| DC shunt motor, self-excited | @30¦M41¦A50¦A10¦A10¦B40¦A30¦A20
| DC series motor, separately excited | @30¦M41¦A50¦A10¦A10¦B40¦A30¦A30
| DC shunt motor, separately excited | @30¦M41¦A50¦A10¦A10¦B40¦A30¦A40
| DC series motor, self-excited | @30¦M41¦A50¦A10¦A10¦B40¦A35¦A10
| DC shunt motor, self-excited | @30¦M41¦A50¦A10¦A10¦B40¦A35¦A20
| DC series motor, separately excited | @30¦M41¦A50¦A10¦A10¦B40¦A35¦A30
| DC shunt motor, separately excited | @30¦M41¦A50¦A10¦A10¦B40¦A35¦A40
| Linear motor, single phase | @30¦M41¦A50¦A10¦A10¦B40¦A40¦A10
| Stepping motor | @30¦M41¦A50¦A10¦A10¦B40¦A40¦A20
| Repulsion motor, single phase | @30¦M41¦A50¦A10¦A10¦B40¦A40¦A30
| Synchronous motor | @30¦M41¦A50¦A10¦A10¦B40¦A40¦A40
| Converter drive | @30¦M41¦A50¦A10¦A10¦B40¦A40¦A50
| Linear motor, single phase | @30¦M41¦A50¦A10¦A10¦B40¦A45¦A10
| Stepping motor | @30¦M41¦A50¦A10¦A10¦B40¦A45¦A20
| Repulsion motor, single phase | @30¦M41¦A50¦A10¦A10¦B40¦A45¦A30
| Synchronous motor | @30¦M41¦A50¦A10¦A10¦B40¦A45¦A40
| Converter drive | @30¦M41¦A50¦A10¦A10¦B40¦A45¦A50
| Frequency converter, 1 phase | @30¦M41¦A50¦A10¦A10¦B50¦A50¦A10
| Frequency converter, 3 phases | @30¦M41¦A50¦A10¦A10¦B50¦A50¦A30
| Indicator, general | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A10
| Voltmeter | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A20
| Current measuring device | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A30
| Maximum demand indicator | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A40
| Varmeter | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A50
| Power-factor meter | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A60
| Phase meter | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A70
| Frequency meter | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A80
| Synchronoscope | @30¦M41¦A50¦A10¦A10¦B60¦A10¦A90
| Wave meter | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B10
| Oscilloscope | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B20
| Galvanometer | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B30
| Salinity meter | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B40
| Thermometer | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B50
| Tachometer | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B60
| Illuminated progress bar | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B70
| LED display, analog | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B80
| LED number display, Profibus | @30¦M41¦A50¦A10¦A10¦B60¦A10¦B90
| Pulse counter, general symbol | @30¦M41¦A50¦A10¦A10¦B60¦A20¦A10
| Pulse counter, manual presetting | @30¦M41¦A50¦A10¦A10¦B60¦A20¦A20
| Pulse counter, electrically reset | @30¦M41¦A50¦A10¦A10¦B60¦A20¦A30
| Pulse counter, multiple contacts | @30¦M41¦A50¦A10¦A10¦B60¦A20¦A40
| Counting device, cam driven | @30¦M41¦A50¦A10¦A10¦B60¦A20¦A50
| Integrating device, general symbol | @30¦M41¦A50¦A10¦A10¦B60¦A30¦A10
| Elapsed time meter | @30¦M41¦A50¦A10¦A10¦B60¦A30¦A20
| Ampere-hour meter | @30¦M41¦A50¦A10¦A10¦B60¦A30¦A30
| Watt-hour meter | @30¦M41¦A50¦A10¦A10¦B60¦A30¦A40
| Var-hour meter | @30¦M41¦A50¦A10¦A10¦B60¦A30¦A50
| Recorder, general symbol | @30¦M41¦A50¦A10¦A10¦B60¦A40¦A10
| Recording wattmeter | @30¦M41¦A50¦A10¦A10¦B60¦A40¦A20
| Combined recording watt-/varmeter | @30¦M41¦A50¦A10¦A10¦B60¦A40¦A30
| Oscillograph | @30¦M41¦A50¦A10¦A10¦B60¦A40¦A40
| Clock, general | @30¦M41¦A50¦A10¦A10¦B60¦A50¦A10
| Master clock | @30¦M41¦A50¦A10¦A10¦B60¦A50¦A20
| Clock, incl. switch | @30¦M41¦A50¦A10¦A10¦B60¦A50¦A30
| Photoconductive cell (LDR) | @30¦M41¦A50¦A10¦A10¦B70¦A10¦A10
| Photo diode | @30¦M41¦A50¦A10¦A10¦B70¦A10¦A20
| Photovoltaic cell | @30¦M41¦A50¦A10¦A10¦B70¦A10¦A30
| Phototransistor | @30¦M41¦A50¦A10¦A10¦B70¦A10¦A40
| Magneto resistor | @30¦M41¦A50¦A10¦A10¦B70¦A10¦A50
| Hall-Generator | @30¦M41¦A50¦A10¦A10¦B70¦A10¦A60
| Thermocouple, general | @30¦M41¦A50¦A10¦A10¦B70¦A20¦A10
| Thermocouple, with non-insulated heating element | @30¦M41¦A50¦A10¦A10¦B70¦A20¦A20
| Thermocouple, with insulated heating element | @30¦M41¦A50¦A10¦A10¦B70¦A20¦A30
| Piezoelectric crystal, with two electrodes | @30¦M41¦A50¦A10¦A10¦B70¦A30¦A10
| Piezoelectric crystal, with three electrodes | @30¦M41¦A50¦A10¦A10¦B70¦A30¦A20
| Piezoelectric crystal, with four electrodes | @30¦M41¦A50¦A10¦A10¦B70¦A30¦A30
| Proximity switch, 3-pole | @30¦M41¦A50¦A10¦A10¦B70¦A40¦A10
| Proximity switch, 4-pole | @30¦M41¦A50¦A10¦A10¦B70¦A40¦A20
| Thermistor motor protection | @30¦M41¦A50¦A10¦A10¦B70¦A40¦A30
| Starter, general symbol | @30¦M41¦A50¦A10¦A10¦B80¦A10¦A10
| Starter, operating in steps | @30¦M41¦A50¦A10¦A10¦B80¦A10¦A20
| Starter, continuously adjustable | @30¦M41¦A50¦A10¦A10¦B80¦A10¦A30
| Direct-online starter, reversing | @30¦M41¦A50¦A10¦A10¦B80¦A10¦A40
| Star-delta starter | @30¦M41¦A50¦A10¦A10¦B80¦A10¦A50
| Starter, with auto-transformer | @30¦M41¦A50¦A10¦A10¦B80¦A10¦A60
| Starter, with thyristor | @30¦M41¦A50¦A10¦A10¦B80¦A10¦A70
| Power circuit-breaker, 1-pole | @30¦M41¦A50¦A10¦A10¦B80¦A20¦A10
| Power circuit-breaker, 2-pole | @30¦M41¦A50¦A10¦A10¦B80¦A20¦A20
| Power circuit-breaker, 3-pole | @30¦M41¦A50¦A10¦A10¦B80¦A20¦A30
| Motor protection switch, 1-pole | @30¦M41¦A50¦A10¦A10¦B80¦A30¦A10
| Motor protection switch, 2-pole | @30¦M41¦A50¦A10¦A10¦B80¦A30¦A20
| Motor protection switch, 3-pole | @30¦M41¦A50¦A10¦A10¦B80¦A30¦A30
| Isolating switch, 1-pole | @30¦M41¦A50¦A10¦A10¦B80¦A40¦A10
| Isolating switch, 2-pole | @30¦M41¦A50¦A10¦A10¦B80¦A40¦A20
| Isolating switch, 3-pole | @30¦M41¦A50¦A10¦A10¦B80¦A40¦A30
| Load interrupter switch, 1-pole | @30¦M41¦A50¦A10¦A10¦B80¦A50¦A10
| Load interrupter switch, 2-pole | @30¦M41¦A50¦A10¦A10¦B80¦A50¦A20
| Load interrupter switch, 3-pole | @30¦M41¦A50¦A10¦A10¦B80¦A50¦A30
| General switch, NO, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A10¦A10
| Limit switch, NO, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A10¦A20
| Pressure switch, NO, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A10¦A30
| Signal switch, NO, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A10¦A40
| NC general, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A20¦A10
| Limit switch, NC, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A20¦A20
| Pressure switch, NC, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A20¦A30
| Main / emergency switch, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A20¦A40
| Signal switch, NC, 1-pole | @30¦M41¦A50¦A10¦A10¦B90¦A20¦A50
| General switch, NO, 3-pole | @30¦M41¦A50¦A10¦A10¦B90¦A40¦A10
| NC general, 3-pole | @30¦M41¦A50¦A10¦A10¦B90¦A50¦A10
| Main / emergency switch, 3-pole | @30¦M41¦A50¦A10¦A10¦B90¦A50¦A20
| Transformer, general symbol | @30¦M41¦A50¦A10¦A10¦C10¦A10¦A10
| Transformer, with voltage polarity indicators | @30¦M41¦A50¦A10¦A10¦C10¦A10¦A20
| Transformer, with screen | @30¦M41¦A50¦A10¦A10¦C10¦A10¦A30
| Transformer, with center tap | @30¦M41¦A50¦A10¦A10¦C10¦A10¦A40
| Transformer, with variable coupling | @30¦M41¦A50¦A10¦A10¦C10¦A10¦A50
| Rectifying transformer | @30¦M41¦A50¦A10¦A10¦C10¦A10¦A60
| Transformer, 3 windings | @30¦M41¦A50¦A10¦A10¦C10¦A20¦A10
| Auto-transformer, general | @30¦M41¦A50¦A10¦A10¦C10¦A30¦A10
| Auto-transformer, with voltage regulation | @30¦M41¦A50¦A10¦A10¦C10¦A30¦A20
| Current transformer, general symbol | @30¦M41¦A50¦A10¦A10¦C10¦A40¦A10
| Current transformer, with tap | @30¦M41¦A50¦A10¦A10¦C10¦A40¦A20
| Current transformer, with two windings and one core | @30¦M41¦A50¦A10¦A10¦C10¦A40¦A30
| Three-phase transformer, star-delta | @30¦M41¦A50¦A10¦A10¦C10¦A50¦A10
| Three-phase transformer, star-zigzag | @30¦M41¦A50¦A10¦A10¦C10¦A50¦A20
| Signal converter, general symbol | @30¦M41¦A50¦A10¦A10¦C20¦A10¦A10
| Frequency converter, general | @30¦M41¦A50¦A10¦A10¦C20¦A20¦A10
| Frequency multiplier | @30¦M41¦A50¦A10¦A10¦C20¦A20¦A20
| Frequency divider | @30¦M41¦A50¦A10¦A10¦C20¦A20¦A30
| Frequency converter (with symbol dll) | @30¦M41¦A50¦A10¦A10¦C20¦A20¦A40
| Pulse inverter | @30¦M41¦A50¦A10¦A10¦C20¦A30¦A10
| Pulse regenerator | @30¦M41¦A50¦A10¦A10¦C20¦A30¦A20
| Pulse distorter | @30¦M41¦A50¦A10¦A10¦C20¦A30¦A30
| Optocoupler, general | @30¦M41¦A50¦A10¦A10¦C20¦A40¦A10
| Frequency inverter | @30¦M41¦A50¦A10¦A10¦C20¦A60¦A10
| Valve, closed | @30¦M41¦A50¦A10¦A10¦C30¦A10¦A10
| Valve, open | @30¦M41¦A50¦A10¦A10¦C30¦A10¦A20
| Electromagnetic brake | @30¦M41¦A50¦A10¦A10¦C30¦A20¦A10
| Eddy current brake | @30¦M41¦A50¦A10¦A10¦C30¦A20¦A20
| Mechanical coupling | @30¦M41¦A50¦A10¦A10¦C30¦A30¦A10
| Electromagnet | @30¦M41¦A50¦A10¦A10¦C30¦A30¦A20
| Diode, general | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A10
| Light emitting diode | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A20
| Diode, temperature dependent | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A30
| Breakdown diode | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A40
| Backward diode | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A50
| Diac | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A60
| Diode module | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A70
| Zener-diode | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A80
| Photodiode | @30¦M41¦A50¦A10¦A10¦C50¦A10¦A90
| Thyristor diode, backward locking | @30¦M41¦A50¦A10¦A10¦C50¦A20¦A10
| Thyristor diode, reverse conducting | @30¦M41¦A50¦A10¦A10¦C50¦A20¦A20
| Bidirectional thyristor diode (Diac) | @30¦M41¦A50¦A10¦A10¦C50¦A20¦A30
| PNP transistor | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A10
| NPN-transistor | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A20
| Unijunction, P-gate | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A30
| Unijunction, N-gate | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A40
| JFET, P-gate | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A50
| JFET, N-gate | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A60
| IGFET, P-gate | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A70
| IGFET, N-gate | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A80
| IGBT, P-gate | @30¦M41¦A50¦A10¦A10¦C50¦A30¦A90
| IGBT, N-gate | @30¦M41¦A50¦A10¦A10¦C50¦A30¦B10
| Thyristor triode, reverse conducting, general | @30¦M41¦A50¦A10¦A10¦C50¦A40¦A10
| Thyristor triode, reverse conducting, N-Gate | @30¦M41¦A50¦A10¦A10¦C50¦A40¦A20
| Thyristor triode, reverse conducting, P-gate | @30¦M41¦A50¦A10¦A10¦C50¦A40¦A30
| Thyristor triode, reverse blocking, general symbol | @30¦M41¦A50¦A10¦A10¦C50¦A40¦A40
| Thyristor triode, reverse blocking, N-gate | @30¦M41¦A50¦A10¦A10¦C50¦A40¦A50
| Thyristor triode, reverse blocking, P-gate | @30¦M41¦A50¦A10¦A10¦C50¦A40¦A60
| Bidirectional thyristor triode (Triac) | @30¦M41¦A50¦A10¦A10¦C50¦A40¦A70
| Black box, automatic contact points | @30¦M41¦A50¦A10¦A20¦A20¦A10¦A10
| Black box, COMOS device | @30¦M41¦A50¦A10¦A20¦A20¦A10¦A20
| Polygon devices | @30¦M41¦A50¦A10¦A20¦A20¦A10¦A80
| Ground, general symbol | @30¦M41¦A50¦A10¦A20¦A20¦A20¦A10
| Ground, noiseless | @30¦M41¦A50¦A10¦A20¦A20¦A20¦A20
| Protective ground | @30¦M41¦A50¦A10¦A20¦A20¦A20¦A30
| Mass | @30¦M41¦A50¦A10¦A20¦A20¦A20¦A40
| Jumper | @30¦M41¦A50¦A10¦A20¦A20¦A30¦A10
| More ... | @30¦M41¦A50¦A10¦A20¦A20¦A30¦A20
| Diode, general | @30¦M41¦A50¦A10¦A30¦B90¦A10¦A10
| Light emitting diode | @30¦M41¦A50¦A10¦A30¦B90¦A10¦A20
| Photodiode | @30¦M41¦A50¦A10¦A30¦B90¦A10¦A30
| PNP transistor | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A10
| NPN transistor | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A20
| Unijunction transistor, P-gate | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A30
| Unijunction transistor, N-gate | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A40
| JFET, P-gate | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A50
| JFET, N-gate | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A60
| IGFET, P-gate | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A70
| IGFET, N-gate | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A80
| IGBT, P-gate | @30¦M41¦A50¦A10¦A30¦B90¦A30¦A90
| IGBT, N-gate | @30¦M41¦A50¦A10¦A30¦B90¦A30¦B10
| Reverse conducting triode thyristor, general | @30¦M41¦A50¦A10¦A30¦B90¦A40¦A10
| Reverse conducting triode thyristor, N-gate | @30¦M41¦A50¦A10¦A30¦B90¦A40¦A20
| Reverse conducting triode thyristor, P-gate | @30¦M41¦A50¦A10¦A30¦B90¦A40¦A30
| Reverse blocking, triode thyristor general | @30¦M41¦A50¦A10¦A30¦B90¦A40¦A40
| Reverse blocking triode thyristor, N-gate | @30¦M41¦A50¦A10¦A30¦B90¦A40¦A50
| Reverse blocking triode thyristor, P-gate | @30¦M41¦A50¦A10¦A30¦B90¦A40¦A60
| Bidirectional thyristor triode (Triac) | @30¦M41¦A50¦A10¦A30¦B90¦A40¦A70
| Indicating instrument, general symbol | @30¦M41¦A50¦A10¦A30¦C40¦A10¦A10
| Illuminated progress bar | @30¦M41¦A50¦A10¦A30¦C40¦A10¦A20
| LED display, analog | @30¦M41¦A50¦A10¦A30¦C40¦A10¦A30
| LED number display, Profibus | @30¦M41¦A50¦A10¦A30¦C40¦A10¦A40
| Photoconductive cell (LDR) | @30¦M41¦A50¦A10¦A30¦C50¦A10¦A10
| Photo diode | @30¦M41¦A50¦A10¦A30¦C50¦A10¦A20
| Photovoltaic cell | @30¦M41¦A50¦A10¦A30¦C50¦A10¦A30
| Phototransistor | @30¦M41¦A50¦A10¦A30¦C50¦A10¦A40
| Magneto resistor | @30¦M41¦A50¦A10¦A30¦C50¦A10¦A50
| Hall generator | @30¦M41¦A50¦A10¦A30¦C50¦A10¦A60
| Thermocouple | @30¦M41¦A50¦A10¦A30¦C50¦A20¦A10
| Piezoelectric crystal with two electrodes | @30¦M41¦A50¦A10¦A30¦C50¦A30¦A10
| Thermistor motor protection | @30¦M41¦A50¦A10¦A30¦C50¦A40¦A10
| Drives | @30¦M41¦A50¦A10¦A10¦A10¦Z03¦A60¦Y4
| Responses | @30¦M41¦A50¦A10¦A10¦A10¦Z03¦A60¦Y6
| Sensor (Density) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦D¦D1
| Sensor (Electrical values) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦E¦E1
| Sensor (Flow) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦F¦F1
| Sensor (Distance, length, position, feedback signals) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦G¦G1
| Sensor (Time) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦K¦K1
| Sensor (Level) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦L¦L1
| Sensor (Humidity) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦M¦M1
| Sensor (Pressure) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦P¦P1
| Sensor (Material property) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦Q¦Q1
| Sensor (Radiation values) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦R¦R1
| Sensor (Speed, RPM) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦S¦S1
| Sensor (Temperature) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦T¦T1
| Sensor (Compound dimensions) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦U¦U1
| Sensor (Viscosity) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦V¦V1
| Sensor (Mass) | @30¦M41¦A50¦A10¦A10¦A15¦A10¦W¦W1
| Measuring device (Density) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦D¦D1
| Measuring device (Electrical values) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦E¦E1
| Measuring device (Flow) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦F¦F1
| Measuring device (Distance, length, position, feedback signals) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦G¦G1
| Measuring device (Time) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦K¦K1
| Measuring device (Level) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦L¦L1
| Measuring device (Humidity) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦M¦M1
| Measuring device (Pressure) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦P¦P1
| Measuring device (Material property) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦Q¦Q1
| Measuring device (Radiation values) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦R¦R1
| Measuring device (Speed, RPM) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦S¦S1
| Measuring device (Temperature) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦T¦T1
| Measuring device (Compound dimensions) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦U¦U1
| Measuring device (Viscosity) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦V¦V1
| Measuring device (Mass) | @30¦M41¦A50¦A10¦A10¦A15¦A30¦W¦W1
| Measuring device (Density) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦D¦D1
| Measuring device (Electrical values) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦E¦E1
| Measuring device (Flow) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦F¦F1
| Measuring device (Distance, length, position, feedback signals) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦G¦G1
| Measuring device (Time) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦K¦K1
| Measuring device (Level) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦L¦L1
| Measuring device (Humidity) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦M¦M1
| Measuring device (Pressure) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦P¦P1
| Measuring device (Material property) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦Q¦Q1
| Measuring device (Radiation values) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦R¦R1
| Measuring device (Speed, RPM) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦S¦S1
| Measuring device (Temperature) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦T¦T1
| Measuring device (Compound dimensions) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦U¦U1
| Measuring device (Viscosity) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦V¦V1
| Measuring device (Mass) | @30¦M41¦A50¦A10¦A10¦A15¦A40¦W¦W1
| Elec. vessel heating system, 1-phase | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A20¦A10
| Elec. vessel heating system, 3-phase | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A20¦A20
| Elec. vessel heating system, DC | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A20¦A30
| Elec. machines heating system, 1-phase | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A30¦A10
| Elec. machines heating system, 3-phase | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A30¦A20
| Elec. machines heating system, DC | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A30¦A30
| Elec. heating system, 1-phase | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A40¦A10
| Elec. heating system, 3-phase | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A40¦A20
| Elec. heating system, DC | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A40¦A30
| Elec. pipe heating system, 1-phase | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A50¦A10
| Elec. pipe heating system, 3-phase | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A50¦A20
| Elec. pipe heating system, DC | @30¦M41¦A50¦A10¦A10¦A50¦A25¦A50¦A30
| Measuring converter power supply | @30¦M41¦A50¦A10¦A10¦C20¦A50¦A10¦A10
| Buffer amplifier | @30¦M41¦A50¦A10¦A10¦C20¦A50¦A10¦A20
| Switch amplifier | @30¦M41¦A50¦A10¦A10¦C20¦A50¦A20¦A10
| Output separator | @30¦M41¦A50¦A10¦A10¦C20¦A50¦A20¦A20
| Solenoid valve, 1 coil | @30¦M41¦A50¦A10¦A10¦C30¦A10¦A30¦A10
| Solenoid valve, 1 coil, adjustable | @30¦M41¦A50¦A10¦A10¦C30¦A10¦A30¦A20
| Solenoid valve, 2 coils | @30¦M41¦A50¦A10¦A10¦C30¦A10¦A30¦A30
| Solenoid valve, 2 coils, adjustable | @30¦M41¦A50¦A10¦A10¦C30¦A10¦A30¦A40
| Solenoid valve | @30¦M41¦A50¦A10¦A10¦C30¦A15¦A10¦A10
| Solenoid valve 2-way | @30¦M41¦A50¦A10¦A10¦C30¦A15¦A10¦A20
| Solenoid valve 3-way | @30¦M41¦A50¦A10¦A10¦C30¦A15¦A10¦A30
| Solenoid valve 4-way | @30¦M41¦A50¦A10¦A10¦C30¦A15¦A10¦A40
| Solenoid valve 5-way | @30¦M41¦A50¦A10¦A10¦C30¦A15¦A10¦A50
| Sight glass indicator | @30¦M41¦A50¦A10¦A10¦C60¦A40¦A10¦A10
| Remote seal | @30¦M41¦A50¦A10¦A10¦C60¦A40¦A20¦A20
| Manometer (handheld) | @30¦M41¦A50¦A10¦A10¦C60¦A40¦A20¦A30
| Barometer | @30¦M41¦A50¦A10¦A10¦C60¦A40¦A20¦A40
| U-pipe manometer | @30¦M41¦A50¦A10¦A10¦C60¦A40¦A20¦A50
| Indicating thermometer | @30¦M41¦A50¦A10¦A10¦C60¦A40¦A30¦A10
| General device without process connection | @30¦M41¦A50¦A10¦A20¦A20¦A10¦B10¦A10
| General device with 1 process connection | @30¦M41¦A50¦A10¦A20¦A20¦A10¦B10¦A20
| General device with 2 process connections | @30¦M41¦A50¦A10¦A20¦A20¦A10¦B10¦A30
| General consumer without process connection (DC) | @30¦M41¦A50¦A10¦A20¦A20¦A10¦B20¦A10
| General consumer without process connection (AC, 1 phase) | @30¦M41¦A50¦A10¦A20¦A20¦A10¦B20¦A20
| General consumer without process connection (AC, 3 phase) | @30¦M41¦A50¦A10¦A20¦A20¦A10¦B20¦A30
| Terminal strip, general | @30¦M41¦A50¦A10¦A10¦A20¦A20¦A50¦A10¦A10
| Plug strip | @30¦M41¦A50¦A10¦A10¦A20¦A20¦A50¦A20¦A10
| Pin-/socket strip | @30¦M41¦A50¦A10¦A10¦A20¦A20¦A50¦A20¦A20
| Standard light bulb | @30¦M41¦A50¦A30¦A30¦A10
| Low voltage halogen lamp | @30¦M41¦A50¦A30¦A30¦A20
| High voltage halogen lamp | @30¦M41¦A50¦A30¦A30¦A30
| Indicating and signal lamp | @30¦M41¦A50¦A30¦A30¦A40
| Induction lamp | @30¦M41¦A50¦A30¦A30¦A50
| Low pressure sodium lamp | @30¦M41¦A50¦A30¦A30¦A60
| High pressure sodium lamp | @30¦M41¦A50¦A30¦A30¦A70
| High pressure mercury lamp | @30¦M41¦A50¦A30¦A30¦A80
| Halogen metal vapor lamp | @30¦M41¦A50¦A30¦A30¦A90
| Mixed light lamp | @30¦M41¦A50¦A30¦A30¦B10
| Projection and photo lamp | @30¦M41¦A50¦A30¦A30¦B20
| Neon lamp | @30¦M41¦A50¦A30¦A30¦B30
| Lamp for medical applications | @30¦M41¦A50¦A30¦A30¦B40
| Single LED | @30¦M41¦A50¦A30¦A30¦B50
| LED lamp / multi LED | @30¦M41¦A50¦A30¦A30¦B60
| Fastening parts | @30¦M41¦A50¦A30¦A40¦A10
| Power rail | @30¦M41¦A50¦A30¦A40¦A20
| Channels | @30¦M41¦A50¦A30¦A40¦A30
| Accessories | @30¦M41¦A50¦A30¦A40¦A40
| Construction objects | @30¦M41¦A50¦A30¦A40¦A60
| Terminal strip, general | @30¦M41¦A50¦A30¦A10¦A20¦A10
| Plug strip | @30¦M41¦A50¦A30¦A10¦A20¦A40
| Pin-/socket strip | @30¦M41¦A50¦A30¦A10¦A20¦A50
| Communication port | @30¦M41¦A50¦A30¦A10¦A20¦A70
| Terminal strip, general | @30¦M41¦A50¦A30¦A10¦A25¦A10
| Plug strip | @30¦M41¦A50¦A30¦A10¦A25¦A40
| Pin-/socket strip | @30¦M41¦A50¦A30¦A10¦A25¦A50
| Communication port | @30¦M41¦A50¦A30¦A10¦A25¦A70
| L1/N/PE | @30¦M41¦A50¦A30¦A10¦A40¦A10
| L1/L2/L3 | @30¦M41¦A50¦A30¦A10¦A40¦A20
| L1/L2/L3/N/PE | @30¦M41¦A50¦A30¦A10¦A40¦A30
| Potential | @30¦M41¦A50¦A30¦A10¦A40¦A40
| L-rail | @30¦M41¦A50¦A30¦A10¦A40¦A50
| N-rail | @30¦M41¦A50¦A30¦A10¦A40¦A60
| PE rail | @30¦M41¦A50¦A30¦A10¦A40¦A70
| Logical potential bundle | @30¦M41¦A50¦A30¦A10¦A40¦A80
| Cable, unspecified | @30¦M41¦A50¦A30¦A10¦A50¦A10
| Control line | @30¦M41¦A50¦A30¦A10¦A50¦A40
| Data cable | @30¦M41¦A50¦A30¦A10¦A50¦A50
| Fiber optic cable | @30¦M41¦A50¦A30¦A10¦A50¦A60
| Drum | @30¦M41¦A50¦A30¦A10¦A50¦D10
| SIMATIC 300 station | @30¦M41¦A50¦A30¦A10¦A60¦A20
| SIMATIC 400 station | @30¦M41¦A50¦A30¦A10¦A60¦A30
| SIMATIC 400H station | @30¦M41¦A50¦A30¦A10¦A60¦A40
| Cabinet system | @30¦M41¦A50¦A30¦A10¦A70¦A10
| 3D assembly | @30¦M41¦A50¦A30¦A10¦A70¦A50
| Terminal strip, general | @30¦M41¦A50¦A30¦A20¦A20¦A10
| Plug strip | @30¦M41¦A50¦A30¦A20¦A20¦A40
| Pin-/socket strip | @30¦M41¦A50¦A30¦A20¦A20¦A50
| Potential | @30¦M41¦A50¦A30¦A20¦A30¦A10
| Cable, unspecified | @30¦M41¦A50¦A30¦A20¦A40¦A10
| Field panel, 20 terminals | @30¦M41¦A50¦A30¦A50¦A50¦A20¦A10
| Field panel, 40 terminals | @30¦M41¦A50¦A30¦A50¦A50¦A20¦A20
| Marshalling rack, 20 terminals | @30¦M41¦A50¦A30¦A50¦A50¦A30¦A10
| Marshalling rack, 40 terminals | @30¦M41¦A50¦A30¦A50¦A50¦A30¦A20
| Marshalling rack, Comb terminally (32x) | @30¦M41¦A50¦A30¦A50¦A50¦A30¦A30
| Marshalling rack, 20 terminals | @30¦M41¦A50¦A30¦A50¦A50¦A40¦A10
| Marshalling rack, 40 terminals | @30¦M41¦A50¦A30¦A50¦A50¦A40¦A20
| Marshalling rack, Comb terminals (32x) | @30¦M41¦A50¦A30¦A50¦A50¦A40¦A30
| Positioner (for valve) | @30¦M41¦A50¦A30¦A20¦A10¦A20¦A20¦A10
| Cable, unspecified | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A40¦A10
| Positioner | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A80¦A30
| Valve cluster | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A80¦A40
| General, device without process connection | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A10¦A10¦A10
| General, device with 1 process connection | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A10¦A10¦A20
| General, device with 2 process connections | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A10¦A10¦A30
| Elec. heating system, general | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A20¦A10
| Density hydrost. meter, local | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A10¦A10¦A10
| Density hydrost. meter, remote | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A10¦A10¦A20
| Vibr. density meter, comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A10¦A20¦A10
| Vibr. density meter, prim. head | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A10¦A20¦A20
| Vibr. density meter, sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A10¦A20¦A30
| Radioactive density meter, comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A10¦A30¦A10
| Radioactive density meter, prim, head | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A10¦A30¦A20
| Radioactive density meter, sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A10¦A30¦A30
| LC current transformer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A20¦A10¦A10
| voltage transformer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A20¦A20¦A10
| Frequency transformer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A20¦A30¦A10
| cos phi transformer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A20¦A40¦A10
| Flowmeter general | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A10¦A10
| Magn. ind. flowm., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A20¦A20
| Magn. ind. flowm., prim. head | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A20¦A30
| Magn. ind. flowm., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A20¦A40
| Standard orifice | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A30¦A50
| Standard flow nozzle | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A30¦A60
| Flow probe | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A30¦A70
| Var. area flowm., local, metal | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A40¦A10
| Var. area flowm., remote, metal | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A40¦A20
| Var. area flowm., local, glass | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A40¦A30
| Var. area flowm., remote, glass | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A40¦A40
| Flap-type flowm., local | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A40¦A50
| Flap-type flowm., remote | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A40¦A60
| Vortex flowm., comp. syst. with connection inlet/outlet zone | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A50¦A10
| Vortex flowm., comp. syst. without connection inlet/outlet zone | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A50¦A20
| Vortex flowm., prim. head with connection inlet/outlet zone | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A50¦A30
| Vortex flowm., prim. head without connection inlet/outlet zone | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A50¦A40
| Vortex flowm., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A50¦A50
| Mass flowm., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A60¦A10
| Mass flowm., prim. head | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A60¦A20
| Mass flowm., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A60¦A30
| Oval wheel flowm. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A70¦A10
| Oval wheel flowm. w. pr.unit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A70¦A20
| Rotary piston flowm. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A70¦A30
| Rotary piston flowm. w. pr. unit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A70¦A40
| Turbine flowm. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A70¦A50
| Quantometer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A70¦A60
| Woltmann counter | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A70¦A70
| Strainer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A70¦A80
| Ultrasonic flowm., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A80¦A10
| Ultrasonic flowm., prim. head | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A80¦A20
| Ultrasonic flowm., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A80¦A30
| Swirl flowm., comp. syst. with connection inlet/outlet zone | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A90¦A10
| Swirl flowm., comp. syst. without connection inlet/outlet zone | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A90¦A20
| Swirl flowm., prim. head with connection inlet/outlet zone | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A90¦A30
| Swirl flowm., prim. head without connection inlet/outlet zone | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A90¦A40
| Swirl flowm., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦A90¦A50
| Thermal flow det., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦B10¦A10
| Thermal flow det., prim. head | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦B10¦A20
| Thermal flow det., sig. conv | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A30¦B10¦A30
| Position switch, gen. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A40¦A10¦A10
| Inductive proximity switch | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A40¦A20¦A10
| Capacitive proximity switch | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A40¦A20¦A20
| Angle-of-rotation meter | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A40¦A30¦A10
| Analog control station, el | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A10¦A10
| Binary control station, el. n/o | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A20¦A10
| Binary control station, el. n/c | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A20¦A20
| Binary control station, pn. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A20¦A30
| Control station unit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A20¦A40
| Safety, maintenance switch | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A30¦A10
| Emergency off pushbutton, el | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A30¦A20
| Flange-mount diff.-pr. tr., el. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A10¦A10
| Flange-mount diff.-pr. tr., pn. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A10¦A20
| Cap. level meter, comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A20¦A10
| Cap. level det., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A20¦A20
| Cap. level probe | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A20¦A30
| Cap. level meter, sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A20¦A40
| Cap. level det., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A20¦A50
| Level indicator, local | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A30¦A10
| Level indicator, remote | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A30¦A20
| Float level indicator, local | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A30¦A30
| Float level indicator, remote | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A30¦A40
| Float switch | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A30¦A50
| Ultras. level meter, comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A40¦A10
| Ultras. level meter, prim. head | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A40¦A20
| Ultras. level meter, sig. conv | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A40¦A30
| Level radar, comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A40¦A40
| Radioactive level meter, comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A50¦A10
| Radioactive level det., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A50¦A20
| Radioactive level meter, prim. head | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A50¦A30
| Radioactive level meter, sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A50¦A40
| Radioactive level det., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A50¦A50
| Vibr. level det., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A60¦A10
| Vibr. level probe | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A60¦A20
| Vibr. level det., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A60¦A30
| PTC level det., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A70¦A10
| PTC level det., probe | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A70¦A20
| PTC level det., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A70¦A30
| Optical level det., comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A80¦A10
| Optical level det., probe | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A80¦A20
| Optical level det., sig. conv. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A60¦A80¦A30
| Pressure gauge with pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A10¦A10
| Pressure gauge without pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A10¦A20
| Diff. pressure gauge with pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A10¦A30
| Diff. pressure gauge without pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A10¦A40
| Gauge pressure transm. with pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A20¦A10
| Gauge pressure transm. without pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A20¦A20
| High-pressure interlocking dev. with pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A20¦A30
| High-pressure interlocking dev. without pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A20¦A40
| Abs.-pressure transm. with pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A30¦A10
| Abs.-pressure transm. without pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A30¦A20
| Abs.-pressure interlocking dev. with pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A30¦A30
| Abs.-pressure interlocking dev. without pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A30¦A40
| Abs.-pressure transm., pn. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A30¦A50
| Diff.-pressure transm. with pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A40¦A10
| Diff.-pressure transm. without pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A40¦A20
| Diff.-pressure interlocking dev. with pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A40¦A30
| Diff.-pressure interlocking dev. without pressure repeater | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A40¦A40
| Diff.-pressure transm., pn. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A70¦A40¦A50
| Analyzer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A80¦A10¦A10
| ph-measuring sensor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A80¦A20¦A10
| O2-measuring sensor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A80¦A20¦A20
| Conductivity sensor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A80¦A20¦A30
| ph/Redox-measuring transducer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A80¦A20¦A40
| Conductivity transmitter | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A80¦A20¦A50
| Bimetallic thermometer with conduit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A90¦A10¦A10
| Bimetallic thermometer without conduit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A90¦A10¦A20
| Gas-in-metal ext. therm., local | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A90¦A20¦A10
| Gas-in-metal ext. therm., remote | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A90¦A20¦A20
| RTD thermometer with conduit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A90¦A30¦A10
| RTD thermometer without conduit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A90¦A30¦A20
| Thermocouple | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A90¦A40¦A10
| Weight unit comp. syst. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦B10¦A10¦A10
| Weight unit electronic module | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦B10¦A10¦A20
| Load cell | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦B10¦A10¦A30
| Active-power transducer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A10¦A10¦A10
| Complex-power transducer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A10¦A10¦A20
| Reactive-power transducer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A10¦A10¦A30
| Pressure reducer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A20¦A10¦A10
| U converter | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A20¦A20¦A20
| Limit switch | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A10¦A10
| Zero-speed relay | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A20¦A20
| Watchdog timer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A30¦A30
| Restart lockout relay | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A30¦A40
| Fuse | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A40¦A10
| Motor protection switch | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A40¦A20
| Overload relay | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A40¦A30
| Fuse card | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A40¦A40
| Power limit switch | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A50¦A10
| Electrostatic earthing device | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A60¦A10
| Temperature limit switch | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A30¦A70¦A10
| Simocode basic module | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A30¦A40¦A10¦A10
| Analog field indicator | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A10¦A10¦A10
| Digital field indicator, el. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A10¦A10¦A20
| Field indicator, pn. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A10¦A10¦A30
| Analog control room indicator | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A10¦A20¦A10
| Digital control room ind., el. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A10¦A20¦A20
| Control room in., pn. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A10¦A20¦A30
| Signal lamp | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A20¦A10¦A10
| Signal panel | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A20¦A10¦A20
| Speaker | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A20¦A20¦A10
| Horn | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A20¦A20¦A20
| Line recorder, el. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A30¦A10¦A10
| Line recorder, pn. | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A30¦A10¦A20
| dot recorder, el | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A40¦A30¦A20¦A10
| Transmitter/Repeater supply unit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A10¦A10
| Signal converter, el | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A20¦A10
| Signal converter, I/I | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A20¦A20
| Signal converter, I/U | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A20¦A30
| Signal converter, U/I | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A20¦A40
| Signal converter, I/f | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A20¦A50
| Signal converter. f/I | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A20¦A60
| Signal converter, R/I | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A20¦A70
| Signal converter thermocouple/I | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A20¦A80
| Isolating amplifier | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A30¦A10
| Safety barrier | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A40¦A10
| Transformer | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A50¦A10
| Power supply unit | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A10¦A50¦A20
| Contactor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A20¦A10¦A10
| Contactor relay | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A20¦A10¦A20
| Relay | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A20¦A10¦A30
| Relay card | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A20¦A10¦A40
| Emergency off relay | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A50¦A20¦A10¦A50
| Motor, general | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A10¦A10
| AC motor, 1-phase | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A20¦A10
| AC motor 1 phase with PE | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A20¦A20
| Single speed, 3-phase motor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A30¦A10
| Single speed, 3-phase motor with GND | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A30¦A20
| Double speed, 3-phase motor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A30¦A30
| Double speed, 3-phase motor with GND | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A30¦A40
| Triple speed, 3-phase motor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A30¦A50
| Triple speed, 3-phase motor with GND | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A30¦A60
| DC series motor, self-excited | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A40¦A10
| DC shunt motor, self-excited | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A40¦A20
| DC series motor, separately excited | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A40¦A30
| DC shunt motor, separately excited | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A40¦A40
| Linear motor, single phase | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A50¦A10
| Stepping motor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A50¦A20
| Repulsion motor, single phase | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A50¦A30
| Synchronous motor | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A50¦A40
| Converter drive | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A70¦A10¦A50¦A50
| Circuit breaker, 1P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A10¦A10
| Circuit breaker, 2P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A10¦A20
| Circuit breaker, 3P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A10¦A30
| Switch isolator, 1P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A20¦A40
| Switch isolator, 2P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A20¦A50
| Switch isolator, 3P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A20¦A60
| Motor protecting switch, 1P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A30¦A10
| Motor protecting switch, 2P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A30¦A20
| Motor protecting switch, 3P | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A10¦A20¦A50¦A40¦A30¦A30
| Field panel, 24 terminals | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A20¦A20¦A50¦A10¦A20¦A10
| Field panel, 40 terminals | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A20¦A20¦A50¦A10¦A20¦A20
| Marshalling rack, 20 terminals | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A20¦A20¦A50¦A10¦A30¦A10
| Marshalling rack, 40 terminals | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A20¦A20¦A50¦A10¦A30¦A20
| Marshalling rack, 20 terminals | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A20¦A20¦A50¦A10¦A40¦A10
| Marshalling rack, 40 terminals | @30¦M41¦A50¦A30¦A20¦A15¦A10¦A20¦A20¦A50¦A10¦A40¦A20
| Main contact, NO, 3-pole | @10¦A50¦A20¦A60¦A10
| Main contact, NC, 3-pole | @10¦A50¦A20¦A60¦A20
| NC, general | @10¦A50¦A20¦A60¦A30¦A10
| NC, leading | @10¦A50¦A20¦A60¦A30¦A20
| NC, lagging | @10¦A50¦A20¦A60¦A30¦A30
| NC, delayed when closing | @10¦A50¦A20¦A60¦A30¦A40
| NC, delayed when opening | @10¦A50¦A20¦A60¦A30¦A50
| NC, delayed when closing/opening | @10¦A50¦A20¦A60¦A30¦A60
| NC, two contacts | @10¦A50¦A20¦A60¦A30¦A70
| NO, general | @10¦A50¦A20¦A60¦A40¦A10
| NO, leading | @10¦A50¦A20¦A60¦A40¦A20
| NO, lagging | @10¦A50¦A20¦A60¦A40¦A30
| NO, delayed when closing | @10¦A50¦A20¦A60¦A40¦A40
| NO, delayed when opening | @10¦A50¦A20¦A60¦A40¦A50
| NO, delayed when closing/opening | @10¦A50¦A20¦A60¦A40¦A60
| Passing NC, actuated | @10¦A50¦A20¦A60¦A40¦A70
| Passing NC, released | @10¦A50¦A20¦A60¦A40¦A80
| Passing NC, actuated/released | @10¦A50¦A20¦A60¦A40¦A90
| NO, two contacts | @10¦A50¦A20¦A60¦A40¦B10
| Changeover, general | @10¦A50¦A20¦A60¦A50¦A10
| Changeover, no interruption | @10¦A50¦A20¦A60¦A50¦A20
| Changeover, delayed when reopening | @10¦A50¦A20¦A60¦A50¦A30
| Changeover, delayed when reclosing | @10¦A50¦A20¦A60¦A50¦A40
| Changeover, delayed when reopening/-closing | @10¦A50¦A20¦A60¦A50¦A50
| Changeover, passing to open | @10¦A50¦A20¦A60¦A50¦A60
| Changeover, passing to close | @10¦A50¦A20¦A60¦A50¦A70
| NO, general | @10¦A50¦A20¦A60¦A70¦A10
| NC, general | @10¦A50¦A20¦A60¦A70¦A20
| Changeover, general | @10¦A50¦A20¦A60¦A70¦A30
| Main contact, NO, 3-pole | @10¦A50¦A20¦A60¦A70¦A40
| Main contact, NC, 3-pole | @10¦A50¦A20¦A60¦A70¦A50
| Main contact, 2NO 2NC, 4-pole | @10¦A50¦A20¦A60¦A70¦A60